Inverted Bucket 981 Steam Trap

Category: Steam Trap

Type: Inverted Bucket

Model: 981

Inverted bucket steam trap, type ... in cast iron with integral strainer, with continuous air venting at steam temperature, with free-floating stainless steel mechanism, and discharge orifice at the top of the trap.